## Data
Glucose data collected for a method comparison from 51 specimens are shown in columns A and B.
Both reference and test data should be collected in duplicate but only "averages" are shown here.
Reference | Test
6 | 7.1
5.6 | 6.9
5 | 5.9
6.9 | 9.3
5.4 | 6.1
5.9 | 7.1
6.5 | 7.3
12.2 | 15
5.1 | 5.6
7.1 | 9.9
5.5 | 6.8
6.9 | 7.6 | A scatter plot is shown together with the line of identity.
3.7 | 4.9
10.8 | 12.8
4.1 | 5.6
3.8 | 4.4
10.1 | 12.1
8.2 | 9.4
6.2 | 7.1
6.8 | 7.1
15.9 | 19.1
10.5 | 12.7
13.5 | 16.2
6.8 | 8.4
6.5 | 7.1
3.6 | 4.1
6.3 | 7.9
4 | 4.2
9.1 | 10.8
10.6 | 12.7
5.3 | 5.8
4.9 | 5.9
16.2 | 19.2
8 | 9.1
6.6 | 8.2
7.5 | 8.6
5 | 6
8.9 | 10.1
17.5 | 20.7
11.8 | 13.7
3.8 | 4.3
4 | 4.2
11.5 | 13.7
7.6 | 9.3
11.1 | 13.5
18.4 | 23.4
4.1 | 5.2
9.4 | 11.4
5.5 | 6.7
5.5 | 7.1
5 | 5.4
The established method
The candidate method

## Difference
The scatter plot (in Data) indicates a difference of slope that is not readily accommodated by the simple difference plot.
This suggestion is confirmed here.
The Mean and Difference of each pair is calculated and plotted as shown.
Reference | Test | Mean | Difference
6 | 7.1 | 6.55 | 1.1
5.6 | 6.9 | 6.25 | 1.3
5 | 5.9 | 5.45 | 0.9
6.9 | 9.3 | 8.1 | 2.4
5.4 | 6.1 | 5.75 | 0.7
5.9 | 7.1 | 6.5 | 1.2
6.5 | 7.3 | 6.9 | 0.8
12.2 | 15 | 13.6 | 2.8
5.1 | 5.6 | 5.35 | 0.5
7.1 | 9.9 | 8.5 | 2.8 | As expected, the difference plot shows a trend with the mean.
5.5 | 6.8 | 6.15 | 1.3 | It indicates the unsuitability of using this derivation directly to calculate a mean difference.
6.9 | 7.6 | 7.25 | 0.7 | Use of logs is the preferred transformation (under log Difference tab).
3.7 | 4.9 | 4.3 | 1.2
10.8 | 12.8 | 11.8 | 2
4.1 | 5.6 | 4.85 | 1.5
3.8 | 4.4 | 4.1 | 0.6
10.1 | 12.1 | 11.1 | 2
8.2 | 9.4 | 8.8 | 1.2
6.2 | 7.1 | 6.65 | 0.9
6.8 | 7.1 | 6.95 | 0.3
15.9 | 19.1 | 17.5 | 3.2
10.5 | 12.7 | 11.6 | 2.2
13.5 | 16.2 | 14.85 | 2.7
6.8 | 8.4 | 7.6 | 1.6
6.5 | 7.1 | 6.8 | 0.6
3.6 | 4.1 | 3.85 | 0.5
6.3 | 7.9 | 7.1 | 1.6
4 | 4.2 | 4.1 | 0.2
9.1 | 10.8 | 9.95 | 1.7
10.6 | 12.7 | 11.65 | 2.1
5.3 | 5.8 | 5.55 | 0.5
4.9 | 5.9 | 5.4 | 1
16.2 | 19.2 | 17.7 | 3
8 | 9.1 | 8.55 | 1.1
6.6 | 8.2 | 7.4 | 1.6
7.5 | 8.6 | 8.05 | 1.1
5 | 6 | 5.5 | 1
8.9 | 10.1 | 9.5 | 1.2
17.5 | 20.7 | 19.1 | 3.2
11.8 | 13.7 | 12.75 | 1.9
3.8 | 4.3 | 4.05 | 0.5
4 | 4.2 | 4.1 | 0.2
11.5 | 13.7 | 12.6 | 2.2
7.6 | 9.3 | 8.45 | 1.7
11.1 | 13.5 | 12.3 | 2.4
18.4 | 23.4 | 20.9 | 5
4.1 | 5.2 | 4.65 | 1.1
9.4 | 11.4 | 10.4 | 2
5.5 | 6.7 | 6.1 | 1.2
5.5 | 7.1 | 6.3 | 1.6
5 | 5.4 | 5.2 | 0.4
(Column A + Column B)/2
Column B - Column A

## log Difference
The Reference and Test data are transformed to logs, and Mean and Difference recalculated.
Reference | Test | Mean (log) | Difference (log)
6 | 7.1 | 0.8147 | 0.073107
5.6 | 6.9 | 0.79352 | 0.090661
5 | 5.9 | 0.73491 | 0.071882
6.9 | 9.3 | 0.90367 | 0.12963
5.4 | 6.1 | 0.75886 | 0.052936
5.9 | 7.1 | 0.81106 | 0.080406
6.5 | 7.3 | 0.83812 | 0.05041
12.2 | 15 | 1.1312 | 0.089731
5.1 | 5.6 | 0.72788 | 0.040618 | The log transformation gives a more even distribution with the (log) mean
7.1 | 9.9 | 0.92345 | 0.14438
5.5 | 6.8 | 0.78644 | 0.092146
6.9 | 7.6 | 0.85983 | 0.041965
3.7 | 4.9 | 0.6292 | 0.12199
10.8 | 12.8 | 1.0703 | 0.073786
4.1 | 5.6 | 0.68049 | 0.1354
3.8 | 4.4 | 0.61162 | 0.063669
10.1 | 12.1 | 1.0436 | 0.078464
8.2 | 9.4 | 0.94347 | 0.059314
6.2 | 7.1 | 0.82183 | 0.058867
6.8 | 7.1 | 0.84188 | 0.018749
15.9 | 19.1 | 1.2412 | 0.079636
10.5 | 12.7 | 1.0625 | 0.082614
13.5 | 16.2 | 1.1699 | 0.079181
6.8 | 8.4 | 0.87839 | 0.09177
6.5 | 7.1 | 0.83209 | 0.038345
3.6 | 4.1 | 0.58454 | 0.056481
6.3 | 7.9 | 0.84848 | 0.098287
4 | 4.2 | 0.61265 | 0.021189
9.1 | 10.8 | 0.99623 | 0.074382
10.6 | 12.7 | 1.0646 | 0.078498
5.3 | 5.8 | 0.74385 | 0.039152
4.9 | 5.9 | 0.73052 | 0.080656
16.2 | 19.2 | 1.2464 | 0.073786
8 | 9.1 | 0.93107 | 0.055951
6.6 | 8.2 | 0.86668 | 0.09427
7.5 | 8.6 | 0.90478 | 0.059437
5 | 6 | 0.73856 | 0.079181
8.9 | 10.1 | 0.97686 | 0.054931
17.5 | 20.7 | 1.2795 | 0.072932
11.8 | 13.7 | 1.1043 | 0.064839
3.8 | 4.3 | 0.60663 | 0.053685
4 | 4.2 | 0.61265 | 0.021189
11.5 | 13.7 | 1.0987 | 0.076023
7.6 | 9.3 | 0.92465 | 0.087669
11.1 | 13.5 | 1.0878 | 0.085011
18.4 | 23.4 | 1.317 | 0.1044
4.1 | 5.2 | 0.66439 | 0.10322
9.4 | 11.4 | 1.015 | 0.083777
5.5 | 6.7 | 0.78322 | 0.085712
5.5 | 7.1 | 0.79581 | 0.1109
5 | 5.4 | 0.71568 | 0.033424
log Column B - log Column A
(log Column A + log Column B)/2

## Statistics of log Difference
The statistics for the log differences are calculated in Excel under Tools/Data Analysis/Descriptive Statistics …..Summary Statistics
Mean and Standard Error allow calculation of upper (UL) and lower (LL) limits of the mean, both as logs.
The log values can be transformed back to give a mean slope of 1.187 with 95 % limits from 1.166 to 1.208, clearly different from 1.0.
Difference (log) | Difference (log) |  |  |  | As log | As antilog
0.073107
0.090661 | Mean | 0.074287 |  | Mean | 0.074287 | 1.1866
0.071882 | Standard Error | 0.0038818 |  | UL | 0.082051 | 1.208
0.12963 | Median | 0.076023 |  | LL | 0.066524 | 1.1655
0.052936 | Mode | 0.073786
0.080406 | Standard Deviation | 0.027722
0.05041 | Sample Variance | 0.00076849 |  | As logs, UL is Mean + 2 Standard Error (SEM)
0.089731 | Kurtosis | 0.31953 |  | As logs, LL is Mean - 2 Standard Error (SEM)
0.040618 | Skewness | 0.23022
0.14438 | Range | 0.12563
0.092146 | Minimum | 0.018749 | The stippled area shows the mean difference +/- 2 SEM, i.e. from LL to UL calculated above.
0.041965 | Maximum | 0.14438
0.12199 | Sum | 3.7886
0.073786 | Count | 51
0.1354
0.063669
0.078464
0.059314
0.058867
0.018749
0.079636
0.082614
0.079181
0.09177
0.038345
0.056481
0.098287
0.021189
0.074382
0.078498
0.039152
0.080656
0.073786
0.055951
0.09427
0.059437
0.079181
0.054931
0.072932
0.064839
0.053685
0.021189
0.076023
0.087669
0.085011
0.1044
0.10322
0.083777
0.085712
0.1109
0.033424

## Regression
Least squares linear regression statistics are calculated in Excel under Tools/Data Analysis/Regression, with Reference as "x".
Reference | Test
6 | 7.1 | SUMMARY OUTPUT
5.6 | 6.9
5 | 5.9 | Regression Statistics
6.9 | 9.3 | Multiple R | 0.99438 |  | Note the suitably high value of "R" (>0.975, cf. ref 9)
5.4 | 6.1 | R Square | 0.9888
5.9 | 7.1 | Adjusted R Square | 0.98857
6.5 | 7.3 | Standard Error | 0.48592
12.2 | 15 | Observations | 51
5.1 | 5.6
7.1 | 9.9 | ANOVA
5.5 | 6.8 |  | df | SS | MS | F | Significance F
6.9 | 7.6 | Regression | 1 | 1021.0802 | 1021.0802 | 4324.5203 | 1.8468e-49
3.7 | 4.9 | Residual | 49 | 11.5696 | 0.23611
10.8 | 12.8 | Total | 50 | 1032.6498
4.1 | 5.6
3.8 | 4.4 |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
10.1 | 12.1 | Intercept | -0.21308 | 0.15943 | -1.3365 | 0.18757 | -0.53347 | 0.10731 | -0.53347 | 0.10731
8.2 | 9.4 | X Variable 1 | 1.2205 | 0.01856 | 65.7611 | 1.8468e-49 | 1.1832 | 1.2578 | 1.1832 | 1.2578
6.2 | 7.1
6.8 | 7.1
15.9 | 19.1 | The equation is y (Test) = 1.22 x (Reference) - 0.213, with the plot shown below.
10.5 | 12.7
13.5 | 16.2 | The intercept is not significantly different from zero: the 95 % limits on it are from -0.53 to 0.11
6.8 | 8.4 |  | The slope is significantly different from 1.0: the 95 % limits on it are from 1.18 to 1.26
6.5 | 7.1
3.6 | 4.1
6.3 | 7.9
4 | 4.2
9.1 | 10.8
10.6 | 12.7
5.3 | 5.8
4.9 | 5.9
16.2 | 19.2
8 | 9.1
6.6 | 8.2
7.5 | 8.6
5 | 6
8.9 | 10.1
17.5 | 20.7
11.8 | 13.7
3.8 | 4.3
4 | 4.2
11.5 | 13.7
7.6 | 9.3
11.1 | 13.5
18.4 | 23.4
4.1 | 5.2
9.4 | 11.4
5.5 | 6.7
5.5 | 7.1
5 | 5.4

## Summary
| SLOPE | LIMITS ON SLOPE | INTERCEPT | LIMITS ON INTERCEPT
ACCEPTABLE BIAS | 1 | 0.978 - 1.022 |  |  | From Ref 12 - glucose data
DIFFERENCE (log transform) | 1.187 | 1.166 - 1.208 |  |  | Under Statistics of log difference tab
LEAST SQUARES | 1.221 | 1.183 - 1.258 | -0.21 | -0.53 - 0.11 | Under Regression tab
DEMING | 1.225 | 1.173 - 1.277 | -0.25 | -0.65 - 0.15 | From MultiQC (see text)
PASSING-BABLOK | 1.219 | 1.179 - 1.260 | -0.23 | -0.53 - 0.11 | From MultiQC (see text)
CONCLUSION
All models give a slope of about 1.2 that is significantly different from 1.0 and outside what is given as acceptable.
All models give a small negative intercept that is insignificantly different from 0.
The test method is unsuitable.